Dangerous Goods Storage and Handling

Those who store and handle Dangerous Goods must become familiar with regulatory

requirements, which are likely to include the following aspects:

Make a list of all materials stored including quantities and storage methods.

Check for MSDS availability and conduct appropriate Risk Assessment.

Assess the potential for substitution with a safer substance.

Make sure that minimum quantity is stored, based on usage rate.

Check for incompatible substances and make sure they are segregated as required by

regulations.

Check design and location of storage meets regulations. Consider weather proofing

requirements.

Check spill containment has the necessary capacity and keeps incompatible substances

apart.

Check storage containers are appropriate, such as flameproof cabinets, including for

“goods in process”.

Provide signs and placards as required by regulations.

Confirm necessary approvals and licences are held, with copies available.

Check for leakage and spills, including underground storage.

Control ignition sources, including smoking, matches, electrical and spark producing

equipment.

Control static electricity risks, especially during decanting operations.

Control access to storage areas as required by regulations and keep access routes clear.

Have written procedures covering all hazardous operations.

Give necessary training to all concerned both on induction and at regular intervals.

Report and investigate incidents, especially those involving Dangerous Goods.

Set up regular review of storage and handling systems and procedures.